## Slide 1
Unit 208: Task 3.
Fix a Straight Flight of Stairs.

## Slide 2
Exploded View.
Handrail
Spindles
Infill Strips
String Capping
Newel Post
Treads
Riser
Newel Post
Handrail
Newel Post
String Capping
Infill Strips
Spindles
String
String

## Slide 3
Cutting List.
Component | Length | Width | Thick | Qty
Newel Post | 700 | 70 | 70 | 4
Stringer | 1035 | 170 | 20 | 2
String Capping | 866 | 39 | 25 | 2
Infill Strip | 125 | 22 | 10 | 24
Spindle | 389 | 22 | 22 | 10
Handrail | 960 | 55 | 55 | 2
Riser | 400 | 131 | 6 | 5
Treads | 400 | 156 | 18mm | 5

## Slide 4
Bottom Newel Post.
Top Joint.
Bottom Joint.
This newel is the bottom left side newel, reverse the design for the right side.
Component | Length | Width | Thickness
Newel Post | 700mm | 70mm | 70mm

## Slide 5
Bottom Newel Post:
Top Joint Details.
Front Elevation.
54mm
60mm
50mm
16mm
Side Elevation.
30mm
30mm
10mm

## Slide 6
Bottom Newel Post:
Base Joint Details.
Front Elevation.
Side Elevation.
25mm
35mm
12mm
38mm
20mm
54mm
107mm
18mm
20mm
23mm
68mm
20mm
89mm
20mm
196mm
10mm
6mm
10mm

## Slide 7
Top Newel Post.
Top Joint.
Bottom Joint.
Component | Length | Width | Thickness
Newel Post | 700mm | 70mm | 70mm
This newel is the Top left side newel, reverse the design for the right side.

## Slide 8
Top Newel Post:
Top Joint Details.
Front Elevation.
Side Elevation.
16mm
60mm
38mm
50mm
12mm

## Slide 9
Top Newel Post:
Bottom Joint Details.
Front Elevation.
Side Elevation.
30mm
10mm
45mm
61mm
46mm
46mm
134mm
228mm
18mm
106mm
34mm
50mm

## Slide 10
Stringer.
This stringer is the left side stringer, reverse the design for the right side.
Component | Length | Width | Thickness
Stringer | 1035mm | 170mm | 20mm

## Slide 11
Stringer:
Bottom Joint Detail.
50mm
41mm
20mm
20mm
36mm

## Slide 12
Stringer:
Top Joint Detail.
50mm
31mm
76mm
42mm

## Slide 13
Stringer:
Rise & Run.
140mm
125mm
140mm
125mm

## Slide 14
Assembly: 1
Stage 1.
Newels
Stringer
Handrail
Stage 2.
String Capping
Stage 3.
Spindles
Stage 4.
Infill Strips
Complete the right-hand side the same.

## Slide 15
Stage 1.
Connect both bottom and top newel posts using the string and handrail. Using glue and dowels fix in position.

## Slide 16
Stage 2.
Fix the string capping to the top edge of the string using screws in-between the 2 newel posts.

## Slide 17
Stage 3.
86.5mm
86.5mm
86.5mm
86.5mm
86.5mm
86.5mm
22mm
22mm
22mm
22mm
22mm
Cut and space out laterally the spindles adhering to Building Regulations Part K.

## Slide 18
Stage 4.
Insert the infill strips between the spindles inside the string capping.

## Slide 19
Treads & Risers.

## Slide 20
Complete Assembly.